Land use conditions – Northern Solar Farm

These conditions are draft and are a tracked change version of the Applicant’s draft conditions incorporating Panel amendments. Note that as separate consents are sought, the below represents an interpretation of the Panel’s Appendix A1 conditions with only conditions relevant to the Northern Solar Farm included. The structure of the Panel’s draft conditions has been adopted where applicable.

The following notes guide the reader as follows:

- Yellow highlights require information that is not currently available and will be finalised later in the process.

- Blue highlights refer to lot numbers that will change with the subdivision scheme revision.

- Bold and underlined text refers to insertions made by the Panel Draft Conditions

- Struckthrough text refers to deletions made by the Panel Draft Conditions

| Resource Consent: | Insert Consent Reference |
| --- | --- |
| Grants to: | Matamata Development Limited |
| Commencement date: | Insert Decision Date |
| Lapse Date: | Five (5) years after commencement date |
| Expiry Date: | Day Month Year (40 years) |
| Location: | Station Road, Matamata (, Lot 2 Deposited Plan 567678, Lot2 Deposited Plan 21055) |
| The activity: | Land use consent (Section 9 of the Resource Management Act 1991 (RMA) and under the National Environmental Standard for Assessing and Managing Contaminants in Soil to Protect Human Health 2011) to develop a Solar farm |

This consent must be read in conjunction with:

A. Insert Consent Reference

B. Insert Consent Reference

C. Insert Consent Reference

D. Insert Consent Reference

E. Insert Consent Reference

F. Insert Consent Reference

And will be interpreted with guidance form the following glossary:

| ADP | Accidental Discovery Protocol |
| --- | --- |
| AEP | Annual Exceedance Probability |
| ARI | Annual Recurrence Interval |
| BMP | Bird Management Plan |
| BPMP | Buffer Planting Management Plan |
| CAR | Corridor Access Request |
| CMP | Construction Management Plan |
| CNVMP | Construction Noise and Vibration Management Plan |
| CTMP | Construction Traffic Management Plan |
| CSMP | Contaminated Soils Management Plan |
| CommMP | Communications Management Plan |
| (The) Council | Matmata-Piako District Council |
| DOC | Department of Conservation |
| DMP | Dust Management Plan |
| DM 2010 | Matamata-Piako Development Manual 2010 |
| EMP | Earthworks Management Plan |
| EcoRMP | Ecological Restoration Management Plan |
| ERP | Emergency Response Plan |
| ESCMP | Erosion and Sediment Control Management Plan |
| FENZ | Fire and Emergency New Zealand |
| FIMP | Flocculation Implementation Management Plan |
| GCR | Geotechnical Completion Report |
| GEMP | Geotechnical Effects Management Plan |
| GMP | Groundwater Management Plan |
| HNZPT | Heritage New Zealand Pouhere Taonga |
| HPL | Highly Productive Land |
| ITA | Integrated Transport Assessment |
| JOAL | Jointly Owned Access Lot |
| LBMP | Long-tailed Bat Management Plan |
| LMP | Lizard Management Plan |
| MP | Management Plan |
| NES-CS | National Environmental Standard for Assessing and Managing Contaminants in Soil to Protect Human Health 2011 |
| OLFP | Overland Flow Path |
| PMP | Parking Management Plan |
| RITS | Waikato Regional Infrastructure Technical Specifications |
| RMA | Resource Management Act 1991 |
| Site | Collectively, Lot 2 Deposited Plan 567678, Lot 2 Deposited Plan 21055 |
| SDP | Stage Development Plan |
| SFPMP | Solar Farms Planting Management Plan |
| SMP | Stormwater Management Plan |
| SQEP | Suitably Qualified and Experienced Person |
| SVR | Site Validation Report |
| WQV | Water Quality Volume |
| WCR | Works Completion Report |

And is subject to the following conditions:

## General Conditions

The project shall be undertaken in general accordance activity must be carried out in accordance with the application for resource consent, including and reports, plans, and further information and plans submitted (listed in Appendix [1]) provided by the Consent Holder in support of LCXX as listed in Section 2.0 below and received by the Environmental Protection Authority on 23 July 2025, and subject to and in accordance with the following conditions of consent. In the event of a Where there is any apparent conflict between the documents in Schedule 1 and application and the consent conditions of these resource consents, the consent conditions will of this land use consent shall prevail.

For the purposes of this consent, any reference to ‘Site’ means land legally described as Lot 2 Deposited Plan 567678 and Lot 2 Deposited Plan 21055.

The Consent Holder must advise the Matamata-Piako District Council (the Council) in writing, at least five (5) working days prior to works commencing on Site, so that monitoring of the conditions of this consent can be undertaken.

- Advice note: All correspondence with Council required by these conditions of consent should be sent via email to xxx@mpdc.govt.nz with reference to consent number Insert Consent Reference.

The Consent Holder shall be responsible for all contracted operations relating to the exercise of this land use consent and shall ensure contractors are made aware of the conditions of this consent and their requirement to comply with those conditions.

Copies A copy of this land use consent and any certified Management Plans (MP) shall must be kept on Site at all times that the works authorised by this consent are being undertaken and shall must be produced without unreasonable delay upon request from the Council a servant or agent of a consent authority.

Any reference in these conditions to a New Zealand Standard includes any later New Zealand standard that amends or replaces it.

### Fees and Charges

The Consent Holder must pay the MPDC all actual and reasonable costs associated with administrative and monitoring of this consent  to the Council any administrative charge fixed in accordance with Section 36(1)(c) of the RMA, or any charge prescribed in accordance with regulations under Section 360 of the RMA., including but not limited to costs associated with:

  - Site visits;

  - Review and certification of management plans;

  - Monitoring of works; and

  - Administration.

The Consent Holder shall also pay any charge prescribed in accordance with regulations made under Section 360 of the RMA.

- Advice notes:

This includes the reasonable costs incurred by Council arising from supervision and monitoring of this consent, e.g. routine inspection of the Site by Council officers or agents, liaison with the Consent Holder, responding to complaints or enquiries relating to the Site, and review and assessment of compliance with the conditions of consents.

That pursuant to Section 332 of the RMA, enforcement officers may at all reasonable times go onto the Site that is the subject of this consent, for the purpose of carrying out inspections, surveys, investigations, tests, measurements or taking samples.

That pursuant to Section 108 of the RMA and the Operative Matamata-Piako District Plan (District Plan), financial contributions in accordance with the Development Contributions Policy 2024 - 2034 (or any subsequent development contributions policy) must be paid to the Council.

The Council may, once per year, on any of the last five (5) working days of either May or November, serve notice on the Consent Holder under Section 128(1) of the RMA of its intention to review the conditions of this consent where:

A material adverse effect which was not identified in the AEE (and supporting material for the resource consent application) has arisen; or

The magnitude of adverse effects from the project are materially larger than what was indicated in the AEE (and supporting material for the resource consent application)

### Consent Lapse

Pursuant to clause 26(2) of Schedule 5 to the FTAA, the consent numbered LCXX shall lapse five (5) years from the date of commencement unless it has been given effect to, surrendered, or been cancelled at an earlier date.

This consent does not attach to the land and is personal to Matamata Development Limited and Unity Management Limited. This consent must not be used by any other person or party without the express written approval of either Matamata Development Limited or Unity Management limited.

## Staging

The residential, commercial and solar farm activities subject to this consent must not be undertaken until the Day 0 subdivision consent (SUBXXXXX) has received Section 224(c) certification from the Council.

The northern solar farm must be operational before Stage 4 of the residential development under LUCXXXX commences. This includes the 33KV power transmission cable connection from the northern solar farm to the Tower Road Sub Station (confirmed with As Built plans).

- Advice note: As shown on the Maven Plan “Proposed [Northern] Solar Farm Connection Plan: (Ref: C720, Rev B, dated May 2025)

## Management Plans

The Consent Holder shall submit the following management plans to MPDC’s Team Leader – Consents Engineer for approval in a technical certifying capacity. The Consent Holder shall prepare the management plans in accordance with the requirements of the relevant conditions and in general accordance with the management plans provided within Schedule 1, attached to this consent.

Table 1: Management Plans – Northern Solar Farm

| Management Plan | Regulatory Authority | Condition Reference | Documents to MPDC for Certification – Minimum Timeframe |
| --- | --- | --- | --- |
| Construction Management Plan | MPDC | (23) | Twenty (20) working days prior to construction |
| Construction Traffic Management Plan | MPDC | (24) | Twenty (20) working days prior to construction |
| Operation Management Plan | MPDC | (36) | Twenty (20) working days prior to construction |
| Stormwater Management Plan | MPDC | XX | Twenty (20) working days prior to submission of EPA |
| Stormwater Operations and Management Plan | MPDC | (37) | Twenty (20) working days prior to construction |
| Construction Noise and Vibration Management Plan | MPDC | (34) | Twenty (20) working days prior to construction |
| Buffer Planting and Maintenance Plan | MPDC | (40) | Twenty (20) working days prior to construction |
| Emergency Response Plan | MPDC | (38) | Twenty (20) working days prior to construction |

The following draft MPs are relevant to the development and must be updated/certified:

| Management Plan | Author | Dated |
| --- | --- | --- |
| Construction Noise and Vibration Management Plan | Styles Group | June 2025 |
| Geotechnical Effect Management Plan | CMW Geosciences | May 2025 |
| Longtailed Bat Management Plan | Ecological Solutions | July 2025 |
| Bird Management Plan | Ecological Solutions | July 2025 |
| Lizard Management Plan | Ecological Solutions | July 2025 |
| Stormwater Management Plan | Maven | May 2025 |

The following MPs are also required to be prepared/completed:

Ecological Restoration Management Plan

Emergency Response Plan

Solar Farm Planting Management Plan

The Consent Holder shall must ensure that all Management Plans MPs are prepared by a Suitably Qualified and Experienced Person SQEP, where the MP is an update of an existing draft, the update must be completed by a SQEP.

The Consent Holder shall must submit the above management plans to MPDC’s Team Leader – Consents Engineer in accordance with the timeframe specified in Table 1 listed MPs to the Council for certification at least twenty (20) working days prior to work commencing.

MPs may be submitted in parts or in stages to address particular activities or to reflect the staged implementation of the development. When a MP is provided in part or for a stage it must satisfy all certification requirements, including submission to the Council for certification. MPs submitted to the Council must clearly show the linkage with MPs for adjacent stages and any interrelated activities or other MPs.

The certification process for Management Plans the MPs required by the conditions of this consent shall must be confined to confirming that the MPs:Plans

- give effect to their objective/s, (including any updated objective/s determined as part of a review provided for in Condition [(10))

- Address the consent condition requirements, contain the required information, and

- are generally consistent with the application documents (including draft MPs) provided in Schedule 1 listed in Appendix [1].

Within twenty (20) working days of receiving a Management Plan that is required by these conditions to be provided MP for certification, the Consent Authority shall Council must:

- notify the Consent Holder whether the Management Plan that the MP is certified or if not,

- or, notify the Consent Holder that the MP is not certified, including the reasons why certification has not been provided and the matters that must be addressed before this can occur. If further information is required, the Council will have a further ten (10) working days (from receipt of further information) to confirm whether the MP has been certified.

- If no response is received from the Council within twenty (20) working days of lodgement of any MP, the relevant MP will be deemed to be certified.

The Consent Holder must implement all certified MPs for the duration of the works.

### Amendments to Management Plans

At all times during construction and enabling works the Consent Holder shall ensure that a copy of the latest version of all Management Plans are kept on site and all key personnel are made aware of their contents.

Any changes and/or updates to a certified Management Plan shall MP must be made in accordance with the methodology and approved procedures in the Plan writing and submitted to MPDC’s Team Leader – Consents Engineer the Council for certification in accordance with Conditions (15) to (20) Condition (28). No change shall have effect until certified by the Consent Authority.

While a MP is being changed/updated, a construction activity must cease unless the Council provides written confirmation that the activity may continue.

- Advice note: This condition does not relate to any operational aspect of a MP.

### Implementation of Management Plans

The Consent Holder shall comply with and implement the following most recently certified management plans for the duration of construction activities:

  - Construction Management Plan

  - Construction Traffic Management Plan

  - Construction Noise and Vibration Management Plan

  - Stormwater Management Plan

The Consent Holder shall implement the following certified management plans, following the site becoming operational:

  - Operation Management Plan

  - Stormwater Operations and Management Plan

### Construction Management Plans

The Consent Holder shall carry out operations in accordance with the CMP certified under this approved land use consent. The CMP shall be updated as required to ensure construction effects of each development stage are adequately managed. Any changes to the CMP shall be confirmed in writing by the Consent Holder and shall be certified by MPDC’s Team Leader – Consents Engineer (or nominee) before implementation.

In accordance with the timeframes set in Table 1, the Consent Holder shall submit a CMP to the MPDC’s Team Leader – Consents Engineer (or nominee) for certification.

- The objective of the CMP is to outline the approach to be taken for managing construction works to ensure that impacts that may arise from the works have been appropriately identified, managed and minimised.  The CMP shall include, but not be limited to:

  - Details of the site manager, including 24-hour contact details (telephone, email, and postal address);

  - The proposed start date of the construction works authorised by this resource consent;

  - A schedule of each construction work phase that relates to relevant works;

  - The commencement date and expected duration of the major cut and fill operations;

  - The location of a notice board/s on the site that are readily visible and readable from a public place that clearly identifies the name, telephone number, email, and address for service of the site manager;

  - Procedures for ensuring that the owners and/or occupiers in the immediate vicinity of the construction area are given 10 working days prior notice of the commencement of construction works and are informed about the expected duration of works, potential effects of the works and are kept informed of progress including responding to queries and complaints;

  - Loading and unloading of plant materials and storage of plant and materials used in constructing the development;

  - Measures to prevent weed invasion due to machinery, top-soil and fill brought on to site including methods for cleaning machinery and inspecting top soil and fill bought to site;

  - Controls for the construction of earthworks to avoid, remedy and/or mitigate the potential effects of earthworks and associated construction works on the receiving environment, including measures to ensure sediment generation is minimised and the works are conducted in accordance with best practice;

  - Details of how all earthmoving machinery, pumps and generators shall be operated in a manner which ensures that spillages of fuel, oil and similar contaminants are prevented, particularly during refuelling and machinery servicing and maintenance (which shall include that refuelling and lubrication activities shall be carried out away from any surface water, such that any spillage can be contained and does not enter any surface water);

  - Methods and systems to inform and train all persons working on the site of potential  environmental issues and how to avoid, remedy or mitigate potential adverse effects;

  - Measures to control the generation of dust to ensure compliance with condition XX of this consent;

  - Reference to, or inclusion of, the Construction Traffic Management Plan;

  - Inclusion of the Accidental Discovery Protocols and a list of contact names and numbers relevant to the accidental discovery; and

  - Any other details of the intended works’ programme

In accordance with the timeframe set out in Table 1, the Consent Holder shall submit to MPDC’s Team Leader – Consents Engineer, for approval in a certifying capacity, a Construction Traffic Management Plan (CTMP).  The purpose of the CTMP is to avoid, remedy and/or mitigate effects associated with Construction Traffic. The plan shall be prepared by a SQEP and shall include, but not be limited to:

  - Objectives and purpose of the CTMP;

  - Description of construction staging and proposed activities;

  - Hours of work, including consideration of the site’s proximity to several schools;

  - Points of site access;

  - Roles, responsibilities and contact details, including for public enquiries;

  - Expected number of vehicle movements, particularly heavy vehicle numbers during the construction phases, including consideration of adjacent construction sites;

  - Construction traffic routes;

  - Any road upgrades proposed;

  - Location of on-site parking for site operatives and visitors, and loading areas for deliveries;

  - Nature and duration of any temporary traffic management proposed; and

  - Measures to prevent, monitor and remedy tracking of dust and debris onto public roads, e.g. wheel wash.

- Advice Note: A single CMP (and CTMP) may be prepared for certification in satisfaction of conditions 22-24 above.

### Construction Noise and Vibration Management Plan

The Consent Holder must also submit a CNVMP for certification. The objective of the CNVMP is to identify and require the adoption of the best practicable option to minimise construction noise and vibration effects and ensure compliance with noise and vibration conditions. The CNVMP must be updated as required to meet the objective. The CNVMP must:

- Accord with, as a minimum:

- German Standard DIN 4150-3:1999 Structural vibration – Effects of vibration on structures.

Annex E of NZS 6803:1999 Acoustics – Construction Noise and the Association of Australasian Acoustical Consultants Guideline for interpreting and applying NZS 6803 1999.

Include, but is not limited to:

- A response to the conditions of this consent.

Measures to mitigate noise and vibration effects on adjoining properties, including the effects of tree clearing, and may include scheduling constraints or physical barriers.

The following requirements:

- All construction work will be designed, managed and conducted to ensure noise levels at the façade of any dwelling on any other site will comply with the limits recommended in Table 1 of NZS6803P:1984 – The Measurement and Assessment of Noise from Construction, Maintenance and Demolition Work and will be measured in accordance with NZS6803P:1984. Adjustments provided in Clause 6.1 of NZS6803P:1984 will apply, and references in the Tables of NZS6803P:1984 to “NZS6802” will read as references to Clause 4.2.2 of NZS6802:1991.

- Except that, the noise limit in Condition [44(b)(iii)(A)] may be exceeded to the following extent at the following identified locations for the following identified activities:

| Receiver address | Activity | Noise limits during specified construction works |
| --- | --- | --- |
| 164 Station Road | During piling | 72 dB LA10 and 87 dB LAmax |

Advice note: All other construction activities at the locations identified above must comply with Condition [44(b)(iii)(A)].

- Construction work and heavy vehicle movements on the Site must only take place:

7:30am to 6:00pm, Monday to Friday.

8:30am to 2:00pm, Saturdays.

No construction work is permitted on Sundays or public holidays.

Include the process for the ongoing review and amendment of the CNVMP to maintain its effectiveness.

The operational noise levels from the solar farm shall comply with the permitted noise performance standards for the Rural Zone when measured and assessed at the notional boundary of any dwelling on an adjacent site.

All construction work shall be designed, managed and conducted to ensure noise levels at the façade of any occupied dwelling on any other site shall comply with the noise limits prescribed in Rule 5.2.1 of the District Plan and NZS6803P:1984, with the following exception:

| Receiver address | Noise limits during piling |
| --- | --- |
| 164 Station Road | 72 dB LA10 and 87 dB LAmax |

Construction work and heavy vehicle movements on the site must only take place between the hours of 7:30 am. and 6:00 pm, Monday to Saturday. No noisy works will be undertaken on Sundays or public holidays. This condition does not preclude quiet works from taking place outside of standard construction hours, providing they are generally inaudible at the neighbouring sites.

The consent holder must advise the occupants of all dwellings within 90 m of the site boundary about the construction works at least five days before works begin on site. The advice must be provided in writing and include the following information:

  - An overview of the construction works including the duration of the project and the working hours on site.

  - A contact name and phone number to advise of any sensitive times for high noise levels and for any questions or complaints regarding noise and vibration throughout the project.

  - The approximate dates and duration of the noisiest activities on site.

All construction works on the site must be designed and conducted to ensure that the construction vibration does not exceed the guideline vibration values set out in the German Standard DIN 4150-3:1999 “Structural vibration – Effects of vibration on structures” when measured from any surrounding building in accordance with the Standard and comply with the limits in Tables 1 and 3 of the Standard.

In accordance with the timeframes set out in Table 1, the consent holder must submit a Construction Noise and Vibration Management Plan (CNVMP) to the MPDC’s Team Leader – Consents Engineer for certification. The objective of the CNVMP must be to identify and require the adoption of the best practicable option to minimise construction noise and vibration effects and ensure compliance with the project noise and vibration conditions.

- The CNVMP must address the requirements of Annex E of NZS 6803:1999 Acoustics – Construction Noise and the AAAC Guideline for interpreting and applying NZS 6803 1999 as a minimum. Construction works must not begin until certification has been received in writing from MPDC’s Planning Manager. The CNVMP and any amendments must be prepared by a suitably qualified acoustics consultant (e.g., MASNZ). Amendments that include changes to the construction methodology must be tracked and the revised CNVMP submitted to MPDC’s Planning Manager for certification.

That should MPDC receive a verified vibration complaint associated with the construction of the solar farm, the consent holder shall, at the Council’s request, install monitoring devices for vibration to allow it to be measured in accordance with German Standard “DIN 4150-3:1999 Structural Vibration – Effects of Vibration on Structures”. Following their installation, the consent holder shall provide data from the vibration monitoring devices to the MPDC Monitoring Officer, or delegated representatives at their request.

### Ecological Restoration Management Plan (EcoRMP)

The Consent Holder must comply with the requirements of the certified EcoRMP. The objective of the EcoRMP is to identify opportunities to maintain or enhance the ecological values of the Site. The EcoRMP must be updated as required to meet the objective. The EcoRMP must include, as a minimum:

- A response to the conditions of this consent.

Evidence that engagement with the Department of Conservation (DOC) has occurred, including evidence that any concerns raised by DOC have been addressed or provide reasons why they have not been addressed.

Enhancing biodiversity, ecological connectivity, and habitat condition across terrestrial, riparian, wetland, and stream ecosystems.

Measures to avoid, remedy or mitigate adverse effects on any Threatened or At-Risk indigenous species that may use the Site.

Define measurable success indicators for the areas (e.g. public spaces, including greenway) identified for ecological restoration/enhancement, including:

Minimum 80% native vegetation survival at Year 3.

Canopy closure or vegetative cover thresholds appropriate to habitat type.

Provide spatial planting plans for all restoration and enhancement areas, including:

- Plant species list/s.

Eco-sourcing requirements.

Planting densities and layout.

Set out implementation milestones and schedules, including indicative timing and sequencing of planting and Site works, but specifically requiring a planting schedule that requires planting to occur during the first planting season (April – September) following the completion of construction.

Identification of Site preparation and maintenance methods, including:

- Weed control and management of invasive species.

Pest animal control measures.

A monitoring and reporting programme, specifying:

- Frequency and duration of monitoring.

Adaptive management triggers and corrective actions.

Describe mechanisms for long-term protection and management, including:

- Legal protection (e.g. covenants, consent notices).

Ongoing maintenance responsibilities.

Confirmation that the EcoRMP complements the Solar Farm Planting Management Plan (required by Condition [(90)]).

The process for the ongoing review and amendment of the EcoRMP to maintain its effectiveness.

### Long-tailed Bat Management Plan (LBMP)

As part of the EcoRMP, the Consent Holder must also submit a LBMP for certification. The objective of the LBMP is to avoid, or if necessary minimise, the effects of the development on long-tailed bats caused by the loss of habitat and artificial light. The LBMP must be updated as required to meet the objective. The LBMP must include, but is not limited to:

- A response to the conditions of this consent.

Evidence that engagement with DOC has occurred, including evidence that any concerns raised by DOC have been addressed or provide reasons why they have not been addressed.

Consideration of all potential effects on long-tail bat populations, having regard to the Department of Conservation’s ‘Protocols for minimising the risk of felling occupied bat roosts’.

The hierarchy of measures to manage all identified effects on long-tail bats (in accordance with the National Policy Statement for Indigenous Biodiversity 2002).

Additional measures to achieve bat sensitive lighting design, particularly along the Waitoa River, having regard to the Department of Conservation’s ‘Interim Advice Note: Steps to take to reduce the impact/effect of artificial light on pekapeka (bats)’ Version 1: 19 August 2025, as well as measures to ensure the long term maintenance of bat-friendly outdoor lighting.

Details of the provision for, and measures for the installation, maintenance and monitoring requirements of, artificial roosts.

Measures to ensure the long-term protection of riparian margins, indigenous vegetation and other vegetated corridors which provide habitat to long-tail bats.

Appropriate monitoring and reporting requirements to the Council and DOC.

The process for the ongoing review and amendment of the LBMP to maintain its effectiveness.

- Advice notes:

- It is an offence under the Wildlife Act 1953 to disturb or destroy the nest of any protected wildlife (Section 63(1)(c)).

- If any inconsistencies arise between this consent and a Wildlife Authority issued for the Site, the Wildlife Authority will take precedence.

### Bird Management Plan (BMP)

As part of the EcoRMP, the Consent Holder must also submit a BMP for certification. The objective of the BMP is to minimise the effects of the development on native birds. The BMP must be updated as required to meet the objective. The BMP must include, but is not limited to:

- A response to the conditions of this consent.

Evidence that engagement with DOC has occurred, including evidence that any concerns raised by DOC have been addressed or provide reasons why they have not been addressed.

If earthworks or vegetation clearance must occur within the bird breeding season (September – February inclusive):

- Before work commences, a bird nest survey of the entire Site, including grasslands to be cleared, must be undertaken by a SQEP. Where required a climbing arborist and/or drone must be used to identify bird nests where trees are too tall or dense to properly assess from the ground. A report must be prepared and submitted to the Council for their records.

If no active nests are found, trees may be felled within five (5) working days.

If active nests of native species are found, a 20m setback must be established around the nest. This area is to be clearly marked and left undisturbed until regular monitoring confirms nesting birds have fledged or nests are naturally abandoned.

If work ceases for more than five (5) consecutive working days, the works area must be resurveyed (pursuant to Condition [50(c)(i)]).

Trees with active nests must be regular monitored until nesting birds have fledged or nests are naturally abandoned. This includes collecting the following data: date and time, GPS location and/or area of checking, outcome of bird nest checks (i.e., presence or absence of active nests) and species observed.

Appropriate monitoring and reporting requirements to the Council and DOC.

The process for the ongoing review and amendment of the BMP to maintain its effectiveness.

Advice notes:

It is an offence under the Wildlife Act 1953 to disturb or destroy the nest of any protected wildlife (s63(1)(c)).

If any inconsistencies arise between this consent and a Wildlife Authority issued for the Site, the Wildlife Authority will take precedence.

### Lizard Management Plan (LMP)

As part of the EcoRMP, the Consent Holder must also submit a LMP for certification. The objective of the LMP is to achieve best practice habitat modification with the intent of minimising potential harm and effects on lizards. The LMP must be updated as required to meet the objective. The LMP must:

Accord with, as a minimum:

The Department of Conservation’s ‘Key Principles for lizard salvage and transfer in New Zealand 2019’, or other equivalent ecological guidelines.

Include, but is not limited to:

A response to the conditions of this consent.

Evidence that engagement with DOC has occurred, including evidence that any concerns raised by DOC have been addressed or provide reasons why they have not been addressed.

Identification of all areas of potential indigenous lizard habitat within the Site, including rock piles, sunny shrublands, and woody debris.

Pre-clearance survey methods, including timing, search effort, and detection techniques appropriate to the species likely to be present.

Capture, handling, containment and translocation procedures, including relevant welfare and biosecurity measures.

Release site criteria, any required habitat enhancement, and measures to ensure long-term suitability and protection.

Post-translocation monitoring protocols (frequency, success indicators, adaptive management).

Reporting requirements to the Council and DOC.

Contingency measures and a protocol in the event that a Threatened or At-Risk–Declining lizard species is encountered including:

- All works to cease immediately in the event.

- Report of the finding to the Council and DOC.

- Management measures to be implemented before works can recommence.

Include the process for the ongoing review and amendment of the LMP to maintain its effectiveness.

Advice note: If any inconsistencies arise between this consent and a Wildlife Authority issued for the Site, the Wildlife Authority will take precedence.

### Operation Management Plan

In accordance with the timeframe set out in Table 1, the Consent Holder shall submit to MPDC’s Team Leader – Consents Engineer, for approval in a certifying capacity, an Operational Site Management Plan (OSMP).  The purpose of the OSMP is to ensure the solar farm and any educational/community/Iwi visits are operated in a manner that avoids, mitigates or remedies adverse effects on the environment.  This should include, but not be limited to:

  - Measures for management of Health and Safety.

  - Measures for scheduled maintenance and off-site monitoring of equipment.

  - Measures for arranging and recording educational/community/Iwi visits to the site.

  - Measures for controlling traffic, including parking and manoeuvring, in relation to educational/community/Iwi visits to the site

  - The ongoing maintenance requirements, including measures for pest and weed control.

### Stormwater Operations and Management Plan

In accordance with the timeframe set out in Table 1, the Consent Holder shall submit to MPDC’s Team Leader – Consents Engineer, for approval in a certifying capacity, a Stormwater Operations and Management Plan. The purpose of the SOMP is to ensure the ongoing function of the stormwater network on the solar farms.

## Engineering Design and Approval

The Consent Holder shall must submit all engineering plans to MPDC the Council for review and approval by the Team Leader – Consents Engineer at least twenty (20) working days prior to commencing construction prior to the submission of any building consent application. The engineering plans shall be amended by the Consent Holder as required until stamped ‘Accepted’ by MPDC’s Team Leader – Consents Engineer or nominee prior to submission of any building consent application. The engineering plans shall include details of the proposed vehicle crossings, and proposed water, stormwater connections and systems, and associated details, and in accordance with the approved SMP, as applicable. Engineering plan approval is needed for all stormwater, wastewater, water, transport and landscaping infrastructure. The engineering plans must:

- Include trunk servicing details and ensure that future connections are provided for

Include servicing details for each Lot as applicable.

Where building consent is not required, the engineering plans must be submitted to the Council for review and approval at least twenty (20) working days prior to construction commencing.

All engineering works and designs shall must be in accordance with the Waikato Regional Infrastructure Technical Specifications (RITS) and other relevant standards including the Matamata-Piako District Council Development Manual 2010 (DM 2010), or to the satisfaction of MPDC’s Team Leader – Consents Engineer (or nominee) the Council.

The Consent Holder shall must retain the services of a suitably qualified person (generally a professional land surveyor or engineer) SQEP to oversee the construction of any infrastructure required for the development. This person shall  must be responsible for ensuring adherence to approved construction plans, quality systems, and project completion requirements. The name and contact details of this person shall be nominated on all engineering plans and associated documents submitted to MPDC’s Team Leader – Consent Engineer when submitted to the Council.

All as-built plans, QA documents, producer statement, warranty documents, associated data for all assets to be transferred to MPDC Council shall must be submitted at the completion of works in accordance with the requirements of the Regional Infrastructure Technical Specifications RITS.

All works within the road corridor shall be managed by a contractor operating under a current CAR (Corridor Access Request), made through the www.beforeudig.co.nz website and appropriate traffic management. The Corridor Access Request shall be approved by the Road Controlling Authority at least 20 working days prior to construction works commencing onsite (including earthworks).

### Water

Water must generally be managed as follows:

- All water services must comply with the DM 2010 that sets out design and construction standards for water reticulation, potable water supply and firefighting supply in accordance with SNZPAS 4509:2008 (NZ Fire Service Fire Fighting Water Supply Code of Practice).

### Safe Systems Audit Transport network

The Consent Holder shall carry out must complete a Safe System Audit at the detailed design stage of the Station Road / northern solar farm access and submit to Council. The Safe System Audit must be undertaken in accordance with the procedures set out in the “Waka Kotahi NZ Transport Agency Safe System Audit Guidelines (October 2022)”. A copy of the completed Safe System Audit shall be provided to MPDC’s Assets and Projects Manager (as the Road Controlling Authority) together with the detailed engineering design drawings. The Audit shall include a response table that identifies how each audit recommendation has been addressed, including where no change is proposed and the supporting rationale. The detailed design Safe System Audit must separate out the decision tracking between designer, developer, and the relevant Council roles (as safety engineer and road controlling authority). The design must be amended until the concerns have been addressed to the satisfaction of the Council as road controlling authority. The completed Safe System Audit must be submitted with the detailed design engineering drawings accompanied by a statement explaining why any remaining safety concerns have not been addressed.

- The Consent Holder shall incorporate into the final detailed design any reasonably practicable safety improvements identified through the Audit that are agreed in writing by MPDC’s Assets and Projects Manager as necessary to address material road safety risks.

## Construction Conditions

### Pre-Start Requirements

The Consent Holder must appoint a single Site Manager prior to commencement of any works who must be the Council’s principal contact person in regard to matters relating to this consent. The Consent Holder must inform the Council of the representative’s name and how they can be contacted prior to this consent being exercised. Should that person(s) change during the term of this resource consent, the Consent Holder must immediately give written notice to the Council of the new representative’s name and mobile phone number.

The following pre-start requirements must take place for each stage of development:

- With respect to cultural finds, the Consent Holder must, at least twenty (20) working days prior to commencement of each stage of earthworks (identified in the EMP), give written notice to:

- Representatives from Ngāti Hauā, Ngāti Hinerangi, and Raukawa to enable them to:

- Clarify with the contractor the accidental discovery protocol (ADP) (set out in Condition [87]).

- Provide the names and contact details of their representatives who are to be contacted for cultural advice and guidance in the event of a discovery of any buried archaeological deposits found during the project.

- Arrange for the inspection/s (should they so desire) of the area (before and during construction works).

The Project Archaeologist (if required) of the planned works and the site representatives and contractors details.

Ten (10) working days prior to commencement of each stage of earthworks (identified in the EMP), the Consent Holder must provide the Council written evidence that any Archaeological Authorities required under the Heritage New Zealand Pouhere Taonga Act 2014 have been obtained from Heritage New Zealand Pouhere Taonga (HNZPH) if required, to modify, damage or destroy any potential archaeological sites that may be affected during the construction works. Alternatively, the Consent Holder must provide evidence that Archaeological Authorities are not necessary.

At least ten (10) working days prior to commencement of construction on Site, the Consent Holder shall must provide the following to MPDC to Council:

- An invitation to attend a pre-start meeting

- The name and contact details of the Site Manager and contractor;

The planned date, staging, and duration of construction.

The Consent Holder shall must , at least ten (10) working days prior to the commencement of construction, invite a representative(s) of Ngāti Hinetangi, Raukawa, Ngāti Hauā, and Waikato Tainui and Waikato Tainui to:

- Attend the pre-start meeting;

Provide a karakia prior to the commencement of site works; and

Undertake a cultural induction for key site personnel.

Monitor earthworks. If the invitation to monitor earthworks is accepted, the Consent Holder must ensure that the monitoring officer is provided with all bulk earthworks timetabling.

Prior to the commencement of activities on site, the Consent Holder shall must hold a pre-start meeting that:

- Is located on the subject site;

Is scheduled not less than five (5) working days prior to the commencement of activities; and

Includes:

- MPDC Monitoring Officer(s), or delegated representatives; and

- Representatives of the contractor/s who will must undertake operations on Site; and

- The project archaeologist. All technical specialists who need to be present on Site during the works to manage/monitor works (e.g. engineer/s, ecologist etc).

The purpose of the pre-start meeting is to ensure that all relevant parties are aware of and understand the requirements for compliance with the conditions of this consent and the certified Construction Management Plans in accordance with Condition B1, above and other relevant legislation requirements including the Heritage New Zealand Pouhere Taonga Act 2014. A copy of the final conditions of consent and certified Construction Management Plans, including but not limited to the accidental discovery protocol conditions XX and XX shall be made available by the Consent Holder at the pre-start meeting.

Prior to the start of construction, a Communications Plan shall be prepared for the construction phases of the Project.

- The purpose of the Communications Plan is to set out how the public and stakeholders (including directly affected and adjacent owners and occupiers of land) will be communicated with throughout the Construction Works.

- The Communications Plan shall be submitted to MPDC’s Monitoring Officer at least 20 working days prior to commencement of works (or such other timeframe that is agreed in writing between the Consent Holder and MPDC’s Monitoring Officer).

- The Communications Plan shall include:

- Contact details of the Project Liaison Person (or persons) who has been appointed for the duration of Enabling Works and Construction Works to be the main and readily accessible point of contact for persons interested in or affected by Construction Works;

- A list of stakeholders who will be communicated with. This shall include all properties fronting the identified construction traffic routes in the CTMP;

- Details of communication activities already undertaken;

- Details of communication activities proposed;

- Details of communications materials to be used to communicate details of the project to stakeholders and the public, including any proposed mail drop information, direct contact with stakeholders, the Project website, or equivalent virtual information source, for providing information to the public;

- Details of the complaint management process including who is responsible for responding, how responses will be provided and the timeframes within which the responses will be provided;

- Details of the consultation requirements set out in other conditions where relevant; and

- The process for ongoing review and amendment of the Communications Plan to maintain its currency.

- In relation to noise and vibration, the Communications Plan shall also address:

- The potential for noise/vibration associated with the Construction Works and the associated timing; and

- The methods used to mitigate the effects of noise/vibration from the Construction Works.

### Accidental Discovery Protocol (ADP)

In the event that any archaeological Sites, remains, artefacts, taonga (Maaori artefacts) or kōiwi are unearthed, dislodged, uncovered or otherwise found or discovered during the earthworks (‘the discovery’), the Consent Holder shall must implement an ADP which shall must consist of the following actions:

- Cease works immediately in all parts of the project site affected by the discovery

- Advise Ngāti Hinerangi, Raukawa, Ngāti Hauā, and Waikato-Tainui and Council within one (1) day of the discovery;

- Arrange for a SQEP archaeologist to attend site to confirm if the material is archaeological in nature or involves kōiwi;

- Contact the NZ Police, Coroner and Heritage New Zealand as appropriate;

- Undertake specific preservation measures to address any discovery that includes water-logged or wet archaeological materials; and

- Not recommence works in the parts of the project site affected by the discovery until all necessary statutory authorisations or consents have been obtained.

### Complaints

That if any complaints are received by the Consent Holder regarding the activities authorised by this consent, the Consent Holder shall must record the following details in a Complaints Log:

  - Date, time and type of complaint, including details of the incident, e.g. duration, any effects noted;

  - Name, address and contact phone number of the complainant (if provided);

  - Location from which the complaint arose;

  - The weather conditions and wind direction at the time of any dust or noise complaint;

  - The likely cause of the complaint;

  - The response made by the Consent Holder including any corrective action undertaken by the Consent Holder in response to the complaint; and

  - Future actions proposed as a result of the complaint so as to avoid reoccurrence.

The Consent Holder shall must  notify MPDC’s Monitoring Officer the Council of any complaint received that relates to the activities authorised by this resource consent as soon as reasonably practicable and no longer than two (2) working days after receiving the complaint.

The Consent Holder shall must respond to any complainant as soon as is reasonably practicable and, within five (5) working days, advise MPDC’s Monitoring Officer the Council and the complainant of the outcome of the Consent Holder’s investigation and all measures taken, or proposed to be taken, to respond to the complaint.

### Design Certification

A detailed design for entranceway works and internal roading shall be submitted to MPDC’s Team Leader – Consents Engineer for certification at least twenty (20) working days. prior to commencing construction. Design and implementation shall be in accordance with the Matamata-Piako District Council Development Manual.

### Earthworks

Earthworks must not be carried out between 1 May and 30 September in any year unless the prior written agreement of MPDC’s Monitoring Officer has been obtained.

The Consent Holder shall ensure all bare areas of land and fill must be either sealed or covered with aggregate, or topsoiled and established with a grass mixture to achieve an 80% ground cover within 14 days one month of the completion of earthworks authorised by this consent. Stabilisation shall be undertaken by providing adequate measures (vegetative and/or structural) that will minimise sediment runoff and erosion to the satisfaction of MPDC’s Team Leader – Consents Engineer acting in a technical certification capacity. The Consent Holder shall monitor and maintain the site until vegetation is established to such an extent that it prevents erosion and prevents sediment from entering any water body.

The Consent Holder must ensure that all vehicle movements associated with the activities authorised under this resource consent must not track dirt and loose material from the vehicle entrance onto the road carriageway. Any material which may inadvertently deposit on the road must be washed or swept clear of the road carriageway as soon as practicable.

Stockpiles must be at least 30m from any Site boundary, unless otherwise approved by the Council

### Retention of Trees

All trees within the road reserve and on neighbouring properties must be retained.

### Noise and Vibration

The operation of chainsaws and stump grinders within 50m of the façade of a dwelling and wood chipping within 70m of the façade of a dwelling must only take place between 08:30 and 17:00, Monday to Friday.

Before earthworks, civil works or tree works begin at any point within 25m of the façade of a dwelling, temporary acoustic barriers must be constructed on or within the Site boundary to block line of sight from the area of the works to the façade of the dwelling. The barriers must be no less than 2.4m in height and must remain in place until these works are outside of the 25m setback distance. Temporary barriers are not required where the CNVMP demonstrates that compliance with the noise limits in this consent can be achieved by other methods.

Advice note: There are no existing dwellings that are currently within the setback distance of 25m. This condition must apply to any new dwellings that are constructed within 25m of the earthworks.

### Dust

The Consent Holder shall adopt all reasonable industry standards and practicable measures to ensure that any dust caused by construction operations on the site which causes an effect that is noxious, dangerous, offensive, or objectionable at or beyond the boundary of the site are avoided.

## Post-Construction Conditions

### Contamination certification

After completing any necessary remedial activities, a Site Validation Report (SVR) is to be completed to demonstrate the remediation targets set out in the CSMP have been achieved and that the Site is suitable for the intended use. The SVR is to be submitted to the Council as soon as practicable, and no later than twenty (20) working days, after remedial validation is completed.

A Works Completion Report (WCR) is to be provided within two (2) months of soil disturbance works being completed to confirm that the methods outlined in the CSMP were enforced for the period of the soil disturbance works, and that the measures were successful in ensuring the potential risks were adequately managed.

Receipts for transportation of the contaminated material must be included in either the SVR or WCR.

### Safe System Audit Roading

The Consent Holder shall undertake must complete a Safe System Audit following the construction of on the Station Road / northern solar farm access following construction and submit to Council. The Safe System Audit must be undertaken in accordance with the procedures set out down in the “Waka Kotahi NZ Transport Agency Safe System Audit Guidelines (October 2022)”. A copy of the completed Post Construction Safety Audit shall be provided to MPDC’s Team Leader – Consents Engineer (as Road Controlling Authority). The Audit shall include a response table identifying the Consent Holder’s proposed actions for each finding, including where no action is proposed and the rationale for this. The post construction Safe System Audit must separate out the decision tracking between designer, developer, and the relevant Council roles (as safety engineer and road controlling authority). The concerns identified in the Safe System Audit must be addressed to the satisfaction of, and implemented within the timeframes agreed with, the Council as road controlling authority.

- The Consent Holder shall implement any reasonably practicable safety improvements identified through the Audit that are agreed by MPDC as necessary to address material road safety risks. Any agreed improvements shall be completed within timeframes mutually agreed between the Consent Holder and MPDC.

### Infrastructure

That all water supply connections to Council’s public mains must be installed by a contractor listed on the Council’s “Approved Licence Contractors”. Any service laterals may be installed by the Consent Holder’s plumbing and drainage contractor.

That the reticulated water supply and stormwater systems serving the Site must be approved in writing by the Council to confirm compliance with the conditions of this resource consent prior to any discharges to the system and prior to the commencement of the activity.

That installed water supply reticulation serving each Stage must be pressure tested and sterilised in accordance with Appendix C of NZS 4404:2010 and best industry practice. Written proof of pressure and sterilisation testing must be provided to the Council for approval prior to the occupation of any dwelling within the Stage.

### Specific conditions for the solar farms

Once construction has concluded been completed, the solar farm shall must only operate for a maximum of 40 years. from when electrical power is first exported from the solar panels to the grid network, excluding electricity exported during initial testing and commission (hereafter referred to as the ‘First Export Date’). Written confirmation of the First Export Date shall be provided to MPDC’s Monitoring Officer no later than one month after the event.

The development of the solar farm must include:

- Legal access to enable emergency vehicles to access the properties

A water supply to enable firefighting

The noise level from the solar farm (L10) as measured within any residentially zoned boundary or within the notional boundary of any rural dwelling shall not exceed the following:

| 7.00am to 8.00pm | 50dBA |
| --- | --- |
| 8.00pm to 7.00am | 40dBA |

To confirm compliance with the noise limits in Condition [156], the Consent Holder must engage a SQEP to undertake acoustic monitoring following the commissioning of the solar farm. The monitoring will be for no less than one (1) month. A report prepared by a SQEP will be prepared and submitted to the Council within one (1) month of the end of the monitoring period.

In accordance with the timeframes set out in Table 1, The Consent Holder must engage a SQEP to prepare a Buffer Solar Farm Planting and Maintenance Management Plan (SFPMP) shall be submitted for review and for certification by the Council MPDC Planning Manager (or nominee). The SFPMP must be submitted to the Council twenty (20) working days prior to the construction of the solar farm commencing. Preparation and certification of the SFPMP must be in accordance with the process set out in Conditions [27] to [34]. The purpose objective of the buffer planting and maintenance plan is as follows SPFMP is to screen the solar farm from adjoining properties. The SFPMP will, as a minimum::

- Provide details of the buffer planting to be provided around the solar farms, including species and plant sizes. etc; The specimen tree numbers must be limited, or located, to maintain solar access to 172 Station Road.

Details around the maintenance requirements for the buffer planting, including access, water, and vegetation control to support the full maturity and height capabilities of the buffer planting being achieved.

Detail the measures to prevent invasive weed species establishing in the buffer planting and within the solar farms (under and between the solar tables).

The buffer planting and maintenance plan shall must be implemented in accordance with the certified plan BPMMP and maintained on an ongoing basis for the life of the solar farms. All planting shall be planted must be within the first planting season following commencement of construction onsite each of the solar farm sites. Any dead, removed, seriously damaged or diseased trees or plants shall be replaced during the next planting season with other trees or plants of a species and size to be first approved by Council.

The planting required by the SFPMP must be maintained for the life of the solar farm.

The Consent Holder must inspect panel drip lines monthly for erosion as part of regular and routine maintenance of the site. If erosion that results in the absence of grass over an area wider than 100 mm and erosion to a depth of 50 mm below adjacent ground level is identified, the Consent Holder must undertake preventative measures to prevent such erosion occurring, which may include infilling along the affected dripline by placing aggregate or other erosion resistant material.

The Consent Holder must prepare a plan of predevelopment overland flow paths within the solar farm. The Consent Holder must inspect the site monthly for erosion due to overland flow as part of regular and routine maintenance of the site. If erosion of mapped predevelopment overland flow paths occur or erosion of new overland flow paths occur (which develop as a consequence of the development), the Consent Holder must undertake preventative measures to prevent such erosion occurring. Preventative measures may include installation of flow spreading devices or reshaping ground to spread out overland flows to minimise stormwater velocities.

The consent holder shall ensure that access is maintained to the transmission lines within the site, including support structures, for maintenance at all reasonable times, and emergency works at all times

Solar Farm Infrastructure within the site, (including, but not limited to, panels and cabinets) shall be cleaned with water only

In accordance with the timeframes set out in Table 1, The Consent Holder must engage a SQEP to prepare an Emergency Response Plan (ERP) shall be submitted to the MPDC’s Planning Manager for certification by the Council. The ERP must be submitted to the Council twenty (20) working days prior to the commissioning of the solar farm. Preparation and certification of the ERP must be consistent with the process set out in Conditions 27 to 34.  The ERP shall be prepared by a suitably qualified practitioner. The objective of the ERP shall is to outline the procedures to be followed in the event that of an emergency (including a fire or the spill of hazardous substances). occurs on site, and is to provide details on, The ERP must include, but not be limited to, the following:

- Evidence that engagement with Fire and Emergency New Zealand (FENZ) has occurred including evidence that any concerns raised by FENZ have been addressed or provide reasons why they have not been addressed.

- A facility description, including infrastructure details, operations, number of personnel, and operating hours.

A site plan depicting key infrastructure, including site access points, and internal access tracks;, firefighting facilities;, water supply system; drainage; and neighbouring properties.

Details of emergency resources, including communication systems;, personal protective equipment; and first aid.

Up-to-date contact details for facility personnel, solar farm manager and any relevant off-site personnel that could provide technical support during an emergency.

Emergency procedures for all credible hazards and risks, including building, infrastructure, and vehicle fire, grass fire and vehicle fires

How Fire and Emergency New Zealand FENZ will be alerted of an emergency incident.

Site evacuation procedures.

A list of hazardous goods stored on site.

Measures to prevent contaminant spills

Hazardous spill procedures.

The Consent Holder shall prepare the ERP in consultation with Fire and Emergency New Zealand (FENZ). The Consent Holder shall provide evidence to MPDC’s Planning Manager that engagement with FENZ has occurred including evidence that any concerns raised by FENZ have been addressed or provide reasons they are not addressed.

### Decommissioning Conditions

A Decommissioning and Rehabilitation Plan (DRMP) must shall be prepared and provided to MPDC’s Planning Manager the Council for certification at least four weeks (20 working days) twenty (20) working days prior to the cessation of the solar farms’s operation ceasing to operate. The Decommissioning and Rehabilitation Plan shall DRMP must provide details of:

- the duration and nature of the decommissioning works

address the management of these the measures to manage decommissioning works, including measures to minimise negative impacts on flora and fauna.

Any rock column ground improvements as part of the substation platform foundations greater than 0.8m below surface level need not be removed.

Details of how the solar farm components are being sustainably disposed of or recycled.

The solar farm must be fully decommissioned and resown with grass within one (1) year of the solar farm ceasing to operate.

# Appendix 1

| Document | Author | Date | Document Version |
| --- | --- | --- | --- |
| Reports |  |  |  |
| AEE | Barker and Associates | 14/07/2025 | A |
| Landscape Assessment Report – Proposed Northern and Southern Solar Farms Ashbourne Development | Greenwood Associates | 03/06/2025 | 0 |
| Matamata Northern Solar Farm – Glint and Glare Report | Lightyears Solar | 18/10/2024 | 0 |
| Infrastructure Report – Ashbourne Solar Farms | Maven Associates | 16/06/2025 | B |
| Assessment of Construction and Operational Noise Effects – Ashbourne Solar Farm | Styles Group | 26/05/2025 | - |
| Draft Construction Noise and Vibration Management Plan – North Solar Farm | Styles Group | 28/05/2025 | - |
| Ashbourne Development Ecological Impact Assessment | Ecological Solutions | 14/07/2025 | - |
| Land Use Capability Classification Assessment | Landsystems | 21/08/2024 | - |
| Geotechnical Investigation Report | CMW Geosciences | 22/05/2025 | 1 |
| Hazardous Substances Management Plan | SLR Consulting New Zealand | 27/05/2025 | 2.0 |
| Transportation Assessment | Commute Transportation Consultants | 09/07/2025 | - |
| Urban Design Assessment | Barker and Associates | 06/06/2025 | 3 |
| Engineering Drawings |  |  |  |
| Solar Farm Specification Drawings | Lightyears Solar | 07/10/2024 | A |
| C090 – Existing Features and Removal Key Plan | Maven Associates | May 2025 | B |
| C090-1 – Existing Features and Removal Plan Sheet 1 of 3 | Maven Associates | May 2025 | B |
| C090-2 – Existing Features and Removal Plan Sheet 2 of 3 | Maven Associates | May 2025 | B |
| C090-3 – Existing Features and Removal Plan Sheet 3 of 3 | Maven Associates | May 2025 | B |
| C200 – Existing Contours Key Plan | Maven Associates | May 2025 | B |
| C200-1 – Existing Contours Plan Sheet 1 of 3 | Maven Associates | May 2025 | B |
| C200-2 – Existing Contours Plan Sheet 2 of 3 | Maven Associates | May 2025 | B |
| C200-3 – Existing Contours Plan Sheet 3 of 3 | Maven Associates | May 2025 | B |
| C210 - Proposed Contours Key Plan | Maven Associates | May 2025 | D |
| C210-1 – Proposed Contours Plan Sheet 1 of 3 | Maven Associates | May 2025 | D |
| C210-2 – Proposed Contours Plan Sheet 2 of 3 | Maven Associates | May 2025 | D |
| C210-3 – Proposed Contours Plan Sheet 3 of 3 | Maven Associates | May 2025 | D |
| C220 – Proposed Cut/Fill Key Plan | Maven Associates | May 2025 | D |
| C220-1 – Proposed Cut/Fill Plan Sheet 1 of 3 | Maven Associates | May 2025 | D |
| C220-2 – Proposed Cut/Fill Plan Sheet 2 of 3 | Maven Associates | May 2025 | D |
| C220-3 – Proposed Cut/Fill Plan Sheet 3 of 3 | Maven Associates | May 2025 | D |
| C230 – Proposed Sediment and Erosion Control Key Plan | Maven Associates | May 2025 | D |
| C230-1 – Proposed Sediment and Erosion Control Plan Sheet 1 of 3 | Maven Associates | May 2025 | D |
| C230-2 – Proposed Sediment and Erosion Control Plan Sheet 2 of 3 | Maven Associates | May 2025 | D |
| C230-3 – Proposed Sediment and Erosion Control Plan Sheet 3 of 3 | Maven Associates | May 2025 | D |
| C240 – Sediment Erosion Control Details Sheet 1 of 2 | Maven Associates | May 2025 | A |
| C240-1 – Sediment Erosion Control Details Sheet 2 of 2 | Maven Associates | May 2025 | A |
| C300 – Proposed Roading Key Plan | Maven Associates | May 2025 | E |
| C300-1 – Proposed Roading Plan Sheet 1 of 3 | Maven Associates | May 2025 | E |
| C300-2 – Proposed Roading Plan Sheet 2 of 3 | Maven Associates | May 2025 | E |
| C300-3 – Proposed Roading Plan Sheet 3 of 3 | Maven Associates | May 2025 | E |
| C310 – Proposed Safe Intersection Sight Distance Plan | Maven Associates | May 2025 | E |
| C320 – Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-1 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-2 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-3 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-4 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-5 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C320-6 - Proposed Roading Longsections | Maven Associates | May 2025 | B |
| C340 – Proposed Roading Typical Cross Section | Maven Associates | April 2025 | A |
| C380 – Proposed Roading Standard Details | Maven Associates | April 2025 | A |
| C480 – Proposed Stormwater Details Plan | Maven Associates | April 2025 | A |
| C700 – Proposed Services Key Plan | Maven Associates | May 2025 | D |
| C700-1 – Proposed Services Plan Sheet 1 of 3 | Maven Associates | May 2025 | D |
| C700-2 – Proposed Services Plan Sheet 2 of 3 | Maven Associates | May 2025 | D |
| C700-3 – Proposed Services Plan Sheet 3 of 3 | Maven Associates | May 2025 | D |
| C720 – Proposed Solar Farm Substation Connection Plan | Maven Associates | May 2025 | B |
| Landscape Drawings |  |  |  |
| Landscape Drawings 2148/04 – Northern Solar Farm – Overall Planting Plan | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/05 Northern Solar Farm – Detailed Planting Plan | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/06 Northern Solar Farm – Sections | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/07 Northern Solar Farm – Plant Palette and Details | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/08 Northern Solar Farm – Viewpoint Locations | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/09 Northern Solar Farm – Viewpoint 01 – Existing | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/10 Northern Solar Farm – Viewpoint 01 – Time of Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/11 Northern Solar Farm – Viewpoint 01 – 5 Years Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/12 Northern Solar Farm – Viewpoint 01 – 15 Years Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/13 Northern Solar Farm – Viewpoint 02 – Existing | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/14 Northern Solar Farm – Viewpoint 02 – Time of Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/15 Northern Solar Farm – Viewpoint 02 – 5 Years Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/16 Northern Solar Farm – Viewpoint 02 – 5 Years Planting 02 | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/17 Northern Solar Farm –Viewpoint 02 - 15 Years Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/18 Northern Solar Farm – Viewpoint 03 – Existing | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/19 Northern Solar Farm – Viewpoint 03 – Time of Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/20 Northern Solar Farm – Viewpoint 03 – 5 Years Planting | Greenwood Associates | 17/11/2025 | S53 |
| Landscape Drawings 2148/21 Northern Solar Farm – Viewpoint 03 – 15 Years Planting | Greenwood Associates | 17/11/2025 | S53 |