# Waitākere District Courthouse –Notice of Requirement Conditions

XXXX Waitākere District Courthouse

| Designation Number | XXXX |
| --- | --- |
| Requiring Authority | Minister of Justice |
| Location | 14 Edmonton Road, Henderson |
| Lapse Date | 10 years from the date which it is included in the Auckland Unitary Plan (Operative in Part) |

| General Conditions |  |
| --- | --- |
| 1 | Works and Activities |
| 2 | Scope of the Designation |
| Conditions Subject to OPW, Building Consent or Design Requirement |  |
| 3 | Urban Design |
| 4 | Flood Modelling |
| 5 | Structural Resilience |
| 6 | Minimum Floor Level (Flood) |
| 7 | Servicing and Infrastructure: General Accordance |
| 8 | Stormwater Mitigation |
| 9 | The Design of Structures in Flood Hazard Areas |
| 10 | Geotechnical Condition |
| 11 | Stormwater Pipe and Clearance |
| 12 | Public Parking |
| 13 | Provision for Cycle Parking |
| 14 | Accessible Parking Spaces |
| 15 | Vehicle Manoeuvring |
| 16 | Principal Operational Access |
| 17 | Vehicle Access on Edmonton Road |
| 18 | Queuing Space |
| 19 | Vehicle Crossing Width |
| 20 | Vehicle Crossing on Edmonton Road |
| 21 | Tree Removal |
| 22 | Lighting |
| Earthworks and Construction Conditions |  |
| 23 | Erosion and Sediment Control |
| 24 | Construction Traffic Management Plan |
| 25 | Construction Management Plan |
| 26 | Construction Noise Limits |
| 27 | Construction Vibration |
| 28 | Construction Noise and Vibration Management Plan |
| 29 | Damage to Assets |
| Operational Conditions |  |
| 30 | Flood Emergency Management Plan |
| 31 | Operational Noise |
| 32 | Network Utilities Subject to Section 176 RMA |

Purpose

Judicial, court, tribunal and related purposes including collection of fines and reparation, administration, support, custodial services and ancillary activities. Works include development and operation of land and buildings for the aforementioned purposes.

General Conditions:

Condition 1: Works and Activities

Waitākere District Courthouse (Justice Facility) for the purposes of these designations shall, in the absence of specific conditions to the contrary, enable the following works and activities:

- Site preparation works, including removal or demolition of buildings and earthworks;

- Construction of a judicial court and associated facilities and infrastructure (including three waters services, roading and parking);

- Accessory buildings and structures;

- Site landscaping, including planting of vegetation and fencing;

- Signage;

- Operation of a judicial court and tribunal spaces, alongside other related land-uses and services including the collection of fines and reparation, administration, support, custodial services and ancillary activities;

- Any other activities that are –

  - Associated with the activities described in (a) to (f) above;

  - Within the scope of this designation

Condition 2: Scope of the Designation

All works and activities shall be undertaken in general accordance with the Notice of the Requirement (NoR) for the Waitākere District Courthouse Project, dated August 2025, except as modified by the conditions that follow.

Conditions Subject to OPW, Building Consent or Design Requirement

Condition 3: Urban Design

- At Outline Plan of Works (OPW) stage, a design statement and supporting plans prepared by a suitably qualified person shall be submitted to Council that demonstrates how the design of the Waitākere District Court - New Courthouse project, including the building form, appearance, scale, height and layout, and general arrangement, materials and specifications of landscaping and access, has addressed the Urban Design Guidelines Framework (UDGF) outlined in the Urban Design Assessment prepared by Architectus (dated 27 February 2026), and demonstrates how the design is in general accordance with the bulk and location study titled ‘Notice of Requirement Drawings’ prepared by Architectus, dated February 2026, or the bulk and location study titled ‘Notice of Requirement Drawings – Alternative Scheme’, dated February 2026. This includes how the site layout and building design meets the UDGF principles attached in Schedule 1.

- Where the design is not in accordance with the bulk and location studies prepared by Architectus, the Justice Facility should, in conjunction with addressing the above UDGF, not exceed the following:

  - A maximum building height of 72.5m;

  - The upper floors of a building above 32.5m in height, must be set back at least 6m from the site frontage;

  - A building must not exceed the height in relation to boundary recession plane as follows:

- 16.5m + 45° recession plane for a length of 10m at the 22 Alderman Drive site boundary when measured from the road.

- 8m + 60° recession plane at the interface of adjoining sites zoned Residential – Terrace Housing and Apartment Building Zone.

3m + 45° recession plane at the interface of adjoining sites zoned Residential – Mixed Housing Urban Zone.

Condition 4: Flood Modelling

An updated HEC-RAS-2D model or equivalent modelling platform for flood assessment, prepared by a suitably qualified engineer, shall be provided at OPW stage.  The purpose of the modelling and flood hazard assessment is to confirm that the final detailed design remains consistent with the flood risk outcomes assessed as part of the NoR.

The model shall also demonstrate that the flood hazard generated by final earthworks and the final building slab and pile design and any impediments in the flood extents are:

- appropriately managed and in general accordance with the NoR approved documents; and

- do not result in any material change in extent, depth, or velocity of the hazards in the surrounding environment and within the NOR site than modelled in the NoR approved documents.

If there is a material change in the extent, depth or velocity of the flood hazard within the NoR site, an updated flood hazard assessment including revised modelling must be provided by a suitably qualified engineer and certified by Council prior to the commencement of works.

Advice Notes:

1). The reference to ‘earthworks’  does not apply to minor works, including ground investigations and works that do not alter the existing ground level.

2). The reference to ‘modelled in the NoR approved documents’ includes the Flood Risk Assessment Report prepared by ACH Consulting dated 2026, the Floodplain Impact Assessment Addendum prepared by ACH Consulting dated February 2026 and the Flooding Peer Review Memo prepared by Flowstate Consulting dated 2026 and applies to both the ‘as lodged’ and ‘alternative’ indicative schemes provided.

3). For the purposes of identifying a ‘material change’ above, the change shall not directly affect the basis of the underlying flood risk outcomes and level of effects assessed in the NoR approved documents.

Condition 5: Structural Resilience

Prior to any construction works, a statement from a suitably qualified structural engineer must be submitted to the Council confirming the pile design and other structural elements can withstand the peak flood depth and velocity for the required design life, explicitly accounting for drag forces and debris loading.

Condition 6: Minimum Floor Level (Flood)

The future building platform must achieve and maintain a minimum finished floor level of 8.6mRL (measured using 2016 NZD Datum) on the subject site, unless a lower floor level has been subject to specific engineering design by a suitably qualified engineer, such design to be submitted to the Council with the OPW for certification.

Condition 7: Servicing and Infrastructure: General Accordance

Adequate provision shall be made for the disposal of wastewater and stormwater, the supply of water, power and telecommunications in general accordance with the Flooding and Infrastructure Assessment including engineering drawings prepared by Holmes Ltd, dated 29 January 2026. Engineering plans shall be submitted to Council with the OPW for certification. Where not in general accordance with the Infrastructure Report and Civils Plans, a new Civil Infrastructure Assessment with supporting engineering plans prepared by a suitably qualified Chartered Professional Engineer shall be submitted to Council for certification.

Advice Notes:

- For the purposes of the above condition ‘where not in general accordance’ is not just a divergence of the infrastructure plans but also any significant divergence from the envisaged demand and discharge of the infrastructure assessments based on a finalised design

- Works Over Approval may be required from Watercare Services Limited under the Water Supply and Wastewater Network Bylaw 2015.

- Prior to commencing construction of any part of the water supply or wastewater network to vest in the water supply and wastewater utility provider, the consent holder must obtain Engineering Plan Approval for the relevant works.

- Plans approved under Notice of Requirement or Outline Plan of Works do not constitute an Engineering Plan Approval and should not be used for the purposes of constructing public reticulation works in the absence of that approval.

- Any person wishing to connect to Watercare Services Limited's (Watercare) water and/or wastewater asset(s) must also obtain Watercare's approval to such connection under the Water Supply and Wastewater Network Bylaw 2015 (Bylaw). Under the Bylaw Watercare may refuse an application to connect to a network in specified circumstances, including where, in Watercare's reasonable opinion, there is insufficient capacity in the network to accommodate the connection.

Condition 8: Stormwater Mitigation

Details of any stormwater mitigation required to accommodate a future building on the site shall be shown on the engineering plans submitted to Council with the OPW for certification along with a final Stormwater Management Plan by a suitably qualified engineer. If stormwater tanks are provided, these shall be located in general accordance with the indicative tank locations shown on the Landscape Plans prepared by Architectus, titled ‘Waitākere District Court - New Courthouse - Landscape Plan (Rev 3)’ and ‘Landscape Plan – Alternative Scheme Option (Rev 2)’ (dated XX Month 2025), and details contained within the Holmes Memorandum: Waitākere Justice Facility – Stormwater Management Plan Memorandum (dated 12 December 2025) the following mitigation as outlined below:

• 3 x Stormwater Tanks

• Type: Above Ground

• Diameter: 3.5mØ

• Height: 3.0m

• Volume: 25,000 L

It is proposed that the first tank will be a combination retention/detention tank that will overflow into the second and third tanks (which are detention only) with a 20mmØ orifice outlet placed on the third tank to allow for captured run-off to be discharge into the existing stormwater network. The specific design for these tanks will be supplied at the detailed design phase.

Condition 9: The Design of Structures in Flood Hazard Areas

Structures and surfaces within areas identified as subject to flood hazards shall have the following design requirements incorporated and demonstrated in the OPW:

- Buildings must be designed to maintain structural integrity during flood events;

- Materials used in construction below the 1% AEP flood level must be water-resistant and capable of withstanding high water velocity and debris entrainment and prolonged exposure to moisture without degradation;

- Fences and walls within flood hazard areas must be designed to allow the free passage of floodwaters;

- The Flood Barrier design shall allow for the structure to be free swinging during a flood event.

The constructed certified design requirement must be maintained at all times.

Condition 10: Geotechnical Condition

The building foundations shall be subject to specific engineering design by a suitably qualified Chartered Professional Engineer having regard to the geotechnical hazards identified in the Geotechnical Report prepared by Wentz-Pacific Limited, dated 2025. The building foundation design shall be detailed in the OPW and certified at time of Building Consent.

Condition 11: Stormwater Pipe and Clearance

A). Location and design of permanent stormwater infrastructure (existing pipe or replacement pipe) including access for maintenance shall be submitted to Council with the OPW for certification.

B). Foundations for a future building must maintain a minimum horizontal setback of 5m from the edge of the stormwater pipe that traverses the centre of the site, unless subject to an alternative suitable clearance distance, speciﬁed by a suitably qualiﬁed engineer and approved by the Council. A pile setout plan with supporting details outlining the size of the proposed piles around the existing stormwater main shall be submitted to Council with the OPW for certification.

Condition 12: Public Parking

If public parking is proposed to be provided on site, this shall be supported by further assessment which is undertaken by a suitably qualified traffic engineer and submitted to Council with the OPW. The assessment shall determine the traffic effects associated with the provision of on-site public parking as being acceptable with reference to relevant Auckland Unitary Plan parking standards.

Advice Note: Any proposal for the provision of public parking at ground level (existing or proposed levels) will also require assessment in respect to the requirements of condition 3 and condition 4 (Flood Modelling) of this designation.

Condition 13: Provision for Cycle Parking

At least 20 cycle parking spaces shall be provided for visitors and 20 cycle parking spaces for staff. This may include visitor cycle parking within the road reserve directly adjacent to the site if there is sufficient space and subject to the approval of the Road Controlling Authority. This detail shall be confirmed at time of the OPW.

Note: The cycle parking must be provided prior to the operation of the Justice Facility.

Condition 14: Accessible Parking Spaces

The Justice Facility shall have access to an adequate number of accessible parking spaces, in a location that enables an accessible route to the main public entrance to the building. This can include existing or proposed accessible spaces outside of the designation boundary (subject to the approval of the Road Controlling Authority or respective site owner) and shall be determined at time of the OPW and certified at Building Consent.

Condition 15: Vehicle Manoeuvring

All vehicles must enter and exit the site in a forward direction, unless further assessment is undertaken by a suitably qualified traffic engineer (submitted with the OPW and certified by Council) that confirms reverse manoeuvring is appropriate on the site.

Condition 16: Principal Operational Access

The principal operational vehicle access to the site must be from Edmonton Road, unless further assessment is undertaken by a suitably qualified traffic engineer that confirms principal operational vehicle access via Alderman Drive is appropriate, such assessment to be submitted with the OPW and certified by Council.

Condition 17: Vehicle Access on Edmonton Road

- As part of the Outline Plan of Works, finalised details of all vehicle crossings and their operation must be submitted and certified by Council. Where right turn movements into or out of the site are proposed, a Transport Assessment undertaken by a suitably qualified traffic engineer must be provided to confirm whether these movements can be safely accommodated.

- No more than two vehicle crossings to the site shall be provided on Edmonton Road, unless further assessment is undertaken by a suitably qualified traffic engineer and certified by Council that confirms this is appropriate. This detail shall be submitted to Council with the OPW.

- No vehicle crossing (including the principal vehicle access) shall be located to the southwest of the Edmonton Road/Takapu Street intersection or on Alderman Drive (other than the existing vehicle crossing serving the Right of Way), unless further assessment is undertaken by a suitably qualified traffic engineer and certified by Council that confirms the construction of a vehicle crossing in this location is appropriate. This detail shall be submitted to Council with the OPW.

Condition 18: Queuing Space

Queuing space of at least one vehicle length shall be provided at any vehicle crossing that provides entry to the site (with the vehicle length being determined according to the largest vehicle that is expected to enter the site at that location). This detail shall be submitted to Council with the OPW.

Condition 19: Vehicle Crossing Width

No vehicle crossing shall be more than 7m wide measured at the site boundary, unless further assessment is undertaken by a suitably qualified traffic engineer that confirms a wider vehicle crossing is appropriate for the site. This detail shall be submitted to Council with the OPW.

Condition 20: Vehicle Crossing on Edmonton Road

Any vehicle crossing onto Edmonton Road shall provide either:

A pedestrian visibility splay of 2.5m width and 5.0m depth; or

An audio-visual method (such as a system that emits an audible tone and/or illuminates a lantern when a vehicle is approaching the vehicle crossing) to alert pedestrians to vehicles about to exit the site;

unless further assessment is undertaken by a suitability qualified traffic engineer that confirms such provisions are not required. This detail shall be submitted to Council with the OPW.

Condition 21: Tree Removal and Mitigation Planting

- The two notable Kauri trees shall only be removed following the approval of the OPW, and in accordance with best arboricultural practices.

- In the event of removal of the notable trees, in the next planting season (May – September) immediately after the removal of the two notable Kauri trees in accordance and subject to part a, the Requiring Authority shall have four specimen trees planted in appropriate permeable areas adjacent in locations agreed in consultation with the Council Heritage Arborist to include two Kauri (Agathis australis) and two Tulip trees (Liriodendron tulipifera). These trees shall be size pb95 and a minimum height of 1.8m at the time of planting and shall be retained and replaced as necessary, should they fail to establish.

Condition 22: Lighting

Prior to the installation of any external lighting, lighting plans prepared by a qualified Lighting Engineer shall be submitted to the Council that demonstrate compliance with the requirements of AS/NZS1158.3.1 and the following standards:

- Lighting limits must be measured and assessed in accordance with Standard AS 4282-1997 Control of the Obtrusive Effects of Outdoor Lighting, except for building façade lighting where the limits may be determined by calculation or measured in accordance with the CIE 150:2003 Guide on the limitation of effects of obtrusive light from outdoor lighting installations – International Commission on Illumination ISBN 3 901 906 19 3.

- Any lighting calculation must be based on a maintenance factor of 1.0 (i.e. no depreciation).

The lighting plans must detail the location, type and intensity of lighting external to the building, taking into account the operational requirements of the Justice Facility.

Earthworks and Construction Conditions:

Condition 23: Erosion and Sediment Control

All earthworks undertaken on the site shall adopt best practice erosion and sediment control measures in accordance with the Auckland Council GD 05 Erosion and Sediment Control Guidelines document. The measures shall include the erection of silt fence, stabilised entranceways, cut off drains and the connection of downpipes to the stormwater system as necessary. These erosion sediment control measures should be erected prior to, and maintained on site for the duration of, the works.

Condition 24: Construction Traffic Management Plan

At least 10 working days prior to the commencement of any building construction works, a Construction Traffic Management Plan (CTMP) shall be submitted to Council for certification. The objective of the CTMP is to provide a framework for managing adverse traffic effects which may result from construction, and to ensure that existing legal access to surrounding properties is not obstructed. To achieve this, the CTMP must be:

- Prepared in accordance New Zealand Transport Authority’s Code of Practice for Temporary Traffic Management and must address the surrounding environment, including routing for heavy construction vehicles and equipment, access for emergency vehicles, pedestrian and bicycle traffic, and public transport.

- Included in any associated Corridor Access Request to the Road Controlling Authority.

No construction activity may commence until a CTMP has been certified by the Council and all construction traffic must be managed at all times in accordance with the certified CTMP.

Condition 25: Construction Management Plan

At least 10 working days prior to the commencement of construction works, a Construction Management Plan (CMP) shall be submitted to Council for certification. The objective of the CMP is to avoid, remedy or mitigate the adverse effects associated with the construction works of the Waitākere District Courthouse/the Project. The CMP must be implemented for the entire construction period, and shall include the following details:

- Details of the works, intended construction timetable (including staging), and hours of work.

- Contact details of the person in charge of construction works or other person responsible for implementing this Plan.

- Measures to store and manage hazardous and / or dangerous materials which take into account flood risk.

- Location of site infrastructure including site offices, site amenities, contractors’ yards site access, equipment and material unloading and storage zones, carparking and security which take into account flood risk.

- Process for notifying neighbours of work and significant milestones, including but not limited to concrete pours, large deliveries, crane install and dismantle, structure erection.

- Means of providing for the health and safety of the general public.

- Methods to control dust, debris on roads and silt laden runoff during construction.

- Erosion and sediment control measures necessary to achieve compliance with condition 9.

- Measures to maintain the site in a tidy condition in terms of the storage and disposal of rubbish, unloading and storage of building materials and similar construction activities.

- Details of ingress and egress routes to and from the site for vehicles and construction machinery during the construction period.

- Details of any proposed temporary protection measures that will be installed to ensure there is no damage to public roads, footpaths, berms, kerbs, drains, reserves, or other public assets.

- Complaints handling procedure.

Condition 26: Construction Noise Limits

All noise arising from construction activity on-site shall not exceed the following limits when measured or assessed at any occupied building on any other site:

26 and 21 Edmonton Road and 1/2A Takapu Street

- Up to 75 dB LAeq during piling.

- At all other times – noise limits shall comply with Table 1 below:

Table 1: Construction Noise Limits that apply at all other times.

22 Alderman Drive and 28 Edmonton Road

- Up to 80 dB LAeq during piling.

- At all other times – noise limits shall comply with Table 1 above

All other properties

- Noise limits shall comply with Table 1 above.

Condition 27: Construction Vibration

All vibration arising from construction activity on the site shall not exceed the following:

- Limits set out in German Industrial Standard DIN 4150-3 (1999): Structural vibration – Part 3; and

- Limits in Table 2 below in buildings in any axis when measured in the corner of the storey of interest for multi-storey buildings, or within 500mm of ground level at the foundation of a single storey building.

Table 2: Construction Vibration Limits

- Works generating vibration for three days or less between the hours of 7am to 6pm may exceed the limits in Table 2, but must comply with limit of 5mm/s peak particle velocity in any axis when measured in the corner of the floor of the storey of interest for multi-storey buildings, or within 500mm of ground level at the foundation of a single storey building, where:

  - All occupied buildings within 50m of the extent of the works generating vibration are advised in writing no less than three days prior to the vibration-generating works commencing; and

  - Written advice must include details of the location of works, the duration of the works, a phone number for complaints and the name of the site manager.

Condition 28: Construction Noise and Vibration Management Plan

- At least 10 working days prior to the commencement of any construction works, a Construction Noise and Vibration Management Plan (CNVMP) shall be submitted to Council for certification. The objective of the CNVMP is to provide a framework for the development and implementation of measures to avoid, remedy, or mitigate the adverse effects of noise and vibration resulting from construction to be achieve the noise and vibration limits in Conditions 26 and 27 above.

No works shall commence until the CNVMP is certified and works shall be carried out in accordance with the requirements of the certified CNVMP and Conditions 26 and 27 at all times.

- The CNVMP should reference Annex E of NZS 6803:1999 Acoustics –Construction Noise. At a minimum, the CNVMP should include:

Applicable site noise and vibration criteria;

Programme of works and hours of operation;

Identification of surrounding noise and/or vibration sensitive receivers;

Details of the specific management and mitigation measures required to comply with the relevant noise and vibration criteria, including but not limited to acoustic screening;

The requirement to provide written communication to occupants of all immediately neighbouring buildings prior to the commencement of activities on site. The written advice shall set out:

- A brief overview of the construction works;

- The working hours and expected duration;

- All mitigation measures to be implemented;

- The procedure for recording concerns/complaints regarding noise and vibration;

- The procedure for noise and vibration monitoring where concerns are raised by receivers; and

- Contact details for site personnel for any concerns regarding noise and vibration.

Note: For clarity, the neighbouring buildings includes 22 Alderman Drive and 11, 15, 22-24 & 26 Edmonton Road, and 1/2A & 2/2A Takapu Street.

Condition 29: Damage to Assets

If any assets in the road corridor, including footpaths, berms, and kerbs, are damaged by heavy vehicles entering or leaving the construction site, the requiring authority must rectify such damage and restore the assets to its original condition (at its own costs) as soon as reasonably practicable or within a timeframe agreed with the road controlling authority.

Condition 30: Flood Emergency Management Plan

Prior to the operation of the activity, a finalised Flood Emergency Management Plan (FEMP) detailing measures outlined in the Draft Flood Evacuation Management Plan [updated and dated xx xx 2026] shall be provided to Council for certification. The objective of the finalised FEMP shall demonstrate that risks to persons as a result of the flood hazards are appropriately managed in general accordance with the Draft Flood Evacuation Management Plan. The finalised FEMP shall include details of the following:

- Staff roles and responsibilities;

- Flood response protocols including activation and monitoring;

- Flood hazard signage and alert;

- Evacuation protocols including internally and externally within the site;

- Communication plan;

- Process for annual inspections, certification, reviews and updates;

- Post-flood event recovery protocols; and

- Confirm detail on resilience of critical infrastructure for implementation of FEMP.

The FEMP must be implemented for the duration of the activity. The FEMP is a live document that must be reviewed yearly to evaluate the effectiveness in achieving the above objective. A copy of the latest FEMP shall be provided to Council at their request.

Condition 31: Operational Noise

Within two months of the operation of the Waitākere District Courthouse, a statement from a suitably qualified acoustic professional shall be provided that certifies all fixed mechanical plant and equipment associated with the Justice Facility will achieve compliance with the following operational noise standards:

Noise levels when measured within the boundary of residential zoned site (11, 15A, 15B and 26 Edmonton Road) must comply with Table 3 below

Table 3: Operational Noise Limits

Noise levels when measured as incident level on the façade of any building in the Business – Metropolitan Zone (applies to 8, 10, 19 and 22-24 Edmonton Road, and 22 Alderman Drive) must comply with Table 4 below.

Table 4: Operational Noise Limits

Compliance with this condition shall be provided on an on-going basis. In the event, the mechanical plant equipment exceeds these thresholds, a Noise Management Report shall be prepared by a suitably qualified specialist that outlines mitigation measures to address the non-compliance.

Condition 32: Network Utilities Subject to Section 176 RMA

Auckland Council as the network utility operator of the reticulated stormwater network shall not require written approval under section 176(1)(b) of the RMA for works for routine operation, maintenance, repair and/or replacement of existing stormwater infrastructure in the same location within the designation.

Advice notes:

- The requiring authority is to obtain all other necessary regional resource consents, and any other approvals, that may be required to undertake any proposed works provided for by the designation.

- The submission of an outline plan of works (OPW) to Auckland Council is a requirement of s176A of the Resource Management Act 1991 unless the requiring authority requests an OPW waiver, and Auckland Council agrees to the waiver.

- The Requiring Authority must obtain Engineering Plan Approval prior to commencing construction of any part of the water supply or wastewater network to vest in the respective utility provider.

- Plans approved under the Notice of Requirement or Outline Plan of Works do not constitute an Engineering Plan Approval and should not be used for the purposes of constructing public reticulation works in the absence of that approval.

Schedule 1

Urban Design Guideline Framework Principles

(with reference to Condition 3: Urban Design, which refers to the Urban Design Assessment prepared by Architectus dated 27 February 2026 )

- How the site layout and building design meets the UDGF principles for safe, easy circulation and access;

- How the building design meets the UDGF principles for building massing/form and building facades;

- How the design meets the UDGF principles for Crime Prevention Through Environmental Design (CPTED);

- How the design meets the UDGF principles for wayfinding and navigation;

- How the design meets the UDGF principles for building entrances;

- How the design meets the UDGF principles for landscape and open space.